## Unpopulated
ASSESSMENT OF SECURITY RISKS | Threat Assessment (likelihood of occurance) | Almost none | 0.5 |  | SCHOOL ASSUMPTIONS:
Using WBDG Methodology |  | Minimal | 1 |  | Typical suburban comprehensive school near Chesapeake Bay
|  | Potential | 2 |  | School built in 1980s or 1990s: typical construction
|  | Credible | 3 |  | Has contemporary HVAC, fire prevention, data, and security systems
|  | Defined | 4
| Impact of Loss (at individual facility; not systemwide) | Minor | 1
|  | Noticeable | 2
|  | Severe | 3
|  | Devastating | 4
| Vulnerability (countermeasures only; attractiveness of target assumed to be equal) | Adequate | 1
|  | Inadequate (typ.) | 2
|  | Marginal | 3
|  | Nonexistent | 4
TYPE OF THREAT | THREAT ASSESSMENT |  | VULNERABILITY ASSESSMENT | [6 empty] | RISK ASSESSMENT
THREAT |  |  | IMPACT OF LOSS (at individual facility; not systemwide) | [5 empty] | VULNERA-BILITY (existing fclt'y cntrmsrs)
| a' | a" | b' |  |  | b" |  |  | c | a' x b' x c | a" x b" x c
| TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | To Occupants (student body or individuals) |  |  | To Facility |  |  |  | TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | COMBINED
|  |  | COMPR. SCHL. (ES, MS, HS) | SPEC. ED. | CTE | LIMITED (e.g. classr'm) | PARTIAL (e.g. wing) | TOTAL
HUMAN:
Active shooter
Bullying
Vandalism
Burglary/Theft
Fire
Arson
Vehicle attack (bomb)
NATURAL:
Tornado
Hurricane
Flood
Earthquake
Fire
Landslide
Snow
Storm surge/tsunami
High winds
Heat wave
Sea rise

## Unpopulated (DB Edit)
ASSESSMENT OF SECURITY RISKS | Threat Assessment (likelihood of occurance) | Almost none | 0.5
Using WBDG Methodology |  | Minimal | 1
|  | Potential | 2
|  | Credible | 3
|  | Defined | 4
| Impact of Loss (at individual facility; not systemwide) | Minor | 1
|  | Noticeable | 2
|  | Severe | 3
|  | Devastating | 4
| Vulnerability (countermeasures only; attractiveness of target assumed to be equal) | Adequate | 1
|  | Inadequate (typ.) | 2
|  | Marginal | 3
|  | Nonexistent | 4
TYPE OF THREAT | THREAT ASSESSMENT |  | VULNERABILITY ASSESSMENT |  |  | RISK ASSESSMENT
THREAT |  |  | IMPACT OF LOSS (at individual facility; not systemwide) |  | VULNERA-BILITY (existing fclt'y cntrmsrs)
| a' | a" | b' | b" | c | a' x b' x c | a" x b" x c
| TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | To Occupants (student body or individuals) | To Facility |  | TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | COMBINED
HUMAN:
Active shooter
Bullying
Vandalism
Burglary/Theft
Fire
Arson
Vehicle attack (bomb)
NATURAL:
Tornado
Hurricane
Flood
Earthquake
Fire
Landslide
Snow
Storm surge/tsunami
High winds
Heat wave
Sea rise

## MD-Typ wo Occupnts
ASSESSMENT OF SECURITY RISKS | Threat Assessment (likelihood of occurance) | Almost none | 0.5 |  | SCHOOL ASSUMPTIONS:
Using WBDG Methodology |  | Minimal | 1 |  | Typical suburban comprehensive school near Chesapeake Bay
|  | Potential | 2 |  | School built in 1980s or 1990s: typical construction
|  | Credible | 3 |  | Has contemporary HVAC, fire prevention, data, and security systems
|  | Defined | 4
| Impact of Loss (at individual facility; not systemwide) | Minor | 1
|  | Noticeable | 2
|  | Severe | 3
|  | Devastating | 4
| Vulnerability (countermeasures only; attractiveness of target assumed to be equal) | Adequate | 1
|  | Inadequate (typ.) | 2
|  | Marginal | 3
|  | Nonexistent | 4
TYPE OF THREAT | THREAT ASSESSMENT |  | VULNERABILITY ASSESSMENT | [6 empty] | RISK ASSESSMENT
THREAT |  |  | IMPACT OF LOSS (at individual facility; not systemwide) | [5 empty] | VULNERA-BILITY (existing fclt'y cntrmsrs)
| a' | a" | b' |  |  | b" |  |  | c | a' x b' x c | a" x b" x c
| TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | To Occupants (student body or individuals) |  |  | To Facility |  |  |  | TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | COMBINED
|  |  | COMPR. SCHL. (ES, MS, HS) | SPEC. ED. | CTE | LIMITED (e.g. classr'm) | PARTIAL (e.g. wing) | TOTAL
HUMAN:
Active shooter |  | 0.5 |  |  |  | 1 |  |  | 3 |  | 1.5 | 1.5
Bullying |  | 1 |  |  |  | 1 |  |  | 3 |  | 3 | 3
Vandalism |  | 3 |  |  |  | 3 |  |  | 2 |  | 18 | 18
Burglary/Theft |  | 2 |  |  |  | 2 |  |  | 2 |  | 8 | 8
Fire |  | 1 |  |  |  | 3 |  |  | 1 |  | 3 | 3
Arson |  | 1 |  |  |  |  | 3 |  | 2 |  | 6 | 6
Vehicle attack (bomb) |  | 0.5 |  |  |  |  | 4 |  | 4 |  | 8 | 8
NATURAL:
Tornado |  | 1 |  |  |  |  | 3 |  | 4 |  | 12 | 12
Hurricane |  | 2 | [5 empty] | 3 | 2 |  | 12 | 12
Flood |  | 1 |  |  |  |  | 3 |  | 4 |  | 12 | 12
Earthquake |  | 0.5 | [5 empty] | 3 | 2 |  | 3 | 3
Fire |  | 1 |  |  |  |  | 3 |  | 2 |  | 6 | 6
Landslide |  | 0.5 |  |  |  |  | 4 |  | 4 |  | 8 | 8
Snow |  | 4 | [5 empty] | 2 | 1 |  | 8 | 8
Storm surge/tsunami |  | 1 | [5 empty] | 3 | 4 |  | 12 | 12
High winds |  | 1 | [5 empty] | 3 | 4 |  | 12 | 12
Heat wave |  | 0.5 | [5 empty] | 1 | 2 |  | 1 | 1
Sea rise |  | 0.5 | [5 empty] | 3 | 4 |  | 6 | 6
From FEMA publication (FEMA 428, December 2003) (Chapter 1, p. 6) |  | https://www.fema.gov/media-library-data/20130726-1455-20490-5292/fema426ch1.pdf

## MD-Typ w Occupnts
ASSESSMENT OF SECURITY RISKS | Threat Assessment (likelihood of occurance) | Almost none | 0.5 |  | SCHOOL ASSUMPTIONS:
Using WBDG Methodology |  | Minimal | 1 |  | Typical suburban comprehensive school near Chesapeake Bay
|  | Potential | 2 |  | School built in 1980s or 1990s: typical construction
|  | Credible | 3 |  | Has contemporary HVAC, fire prevention, data, and security systems
|  | Defined | 4
| Impact of Loss (at individual facility; not systemwide) | Minor | 1
|  | Noticeable | 2
|  | Severe | 3
|  | Devastating | 4
| Vulnerability (based on countermeasures only) | Minor | 1
|  | Typical | 2
|  | Severe | 3
|  | Extreme | 4
TYPE OF THREAT | THREAT ASSESSMENT |  | VULNERABILITY ASSESSMENT | [6 empty] | RISK ASSESSMENT
THREAT |  |  | IMPACT OF LOSS (at individual facility; not systemwide) | [5 empty] | VULNERA-BILITY (existing fclt'y cntrmsrs)
| a' | a" | b' |  |  | b" |  |  | c | a' x b' x c | a" x b" x c
| TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | To Occupants (student body or individuals) |  |  | To Facility |  |  |  | TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | COMBINED
|  |  | COMPR. SCHL. (ES, MS, HS) | SPEC. ED. | CTE | LIMITED (e.g. classr'm) | PARTIAL (e.g. wing) | TOTAL
HUMAN:
Active shooter | 0.5 | 0.5 | 4 |  |  | 1 |  |  | 3 | 6 | 1.5 | 7.5
Bullying | 3 | 1 | 3 |  |  | 1 |  |  | 3 | 27 | 3 | 30
Vandalism | 1 | 3 | 1 |  |  | 3 |  |  | 2 | 2 | 18 | 20
Burglary/Theft | 3 | 2 | 3 |  |  | 2 |  |  | 2 | 18 | 8 | 26
Fire | 1 | 1 | 3 |  |  | 3 |  |  | 1 | 3 | 3 | 6
Arson | 1 | 1 | 1 |  |  |  | 3 |  | 2 | 2 | 6 | 8
Vehicle attack (bomb) | 0.5 | 0.5 | 4 |  |  |  | 4 |  | 4 | 8 | 8 | 16
NATURAL:
Tornado | 1 | 1 | 3 |  |  |  | 3 |  | 4 | 12 | 12 | 24
Hurricane | 1 | 2 | 3 |  |  |  |  | 3 | 2 | 6 | 12 | 18
Flood | 1 | 1 | 3 |  |  |  | 3 |  | 4 | 12 | 12 | 24
Earthquake | 0.5 | 0.5 | 2 |  |  |  |  | 3 | 2 | 2 | 3 | 5
Fire | 2 | 1 | 3 |  |  |  | 3 |  | 2 | 12 | 6 | 18
Landslide | 0.5 | 0.5 | 3 |  |  |  | 4 |  | 4 | 6 | 8 | 14
Snow | 2 | 4 | 2 |  |  |  |  | 2 | 1 | 4 | 8 | 12
Storm surge/tsunami | 1 | 1 | 2 |  |  |  |  | 3 | 4 | 8 | 12 | 20
High winds | 1 | 1 | 3 |  |  |  |  | 3 | 4 | 12 | 12 | 24
Heat wave | 3 | 0.5 | 3 |  |  |  |  | 1 | 2 | 18 | 1 | 19
Sea rise | 0.5 | 0.5 | 1 |  |  |  |  | 3 | 4 | 2 | 6 | 8

## MD-Countermeasures
ASSESSMENT OF SECURITY RISKS | Threat Assessment (likelihood of occurance) | Almost none | 0.5 |  | SCHOOL ASSUMPTIONS:
Using WBDG Methodology |  | Minimal | 1 |  | Typical suburban comprehensive school near Chesapeake Bay
TYPE OF THREAT | THREAT ASSESSMENT |  | VULNERABILITY ASSESSMENT | [6 empty] | RISK |  |  |  | COUNTERMEASURES
THREAT |  |  | IMPACT OF LOSS (at individual facility; not systemwide) | [5 empty] | VULNERA-BILITY (existing fclt'y cntrmsrs) |  |  | RISK ASSESSMENT | FACILITY COUNTERMEASURES | DETECTION/ MONITORING |  |  |  |  | PREVENTION |  |  |  | MITIGATION | [8 empty] | RESPONSE
| a' | a" | b' |  |  | b" |  |  | c | a' x b' x c | a" x b" x c
| TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | To Occupants (student body or individuals) |  |  | To Facility |  |  |  | TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | COMBINED |  | Visibiity from within (CPTED) | Camera | Access system | Fire alarm | Early warning | Entry alarm | No blind spots (CPTED) | Limit access | Lock system | pStandoff/no burn Perimeter | Evacuation procedure | Lighting | Classroom locks | Area in classroom out of sight | Blinds, shades | Lock-down areas | Fire suppression | Area of refuge | Internal communication | External communication
|  |  | COMPR. SCHL. (ES, MS, HS) | SPEC. ED. | CTE | LIMITED (e.g. classr'm) | PARTIAL (e.g. wing) | TOTAL
HUMAN:
Active shooter | 0.5 | 0.5 | 4 |  |  | 1 |  |  | 3 | 6 | 1.5 | 7.5 | Limit access points; control classroom entry points; monitor all visitors and students; integrate communications; create ares of refuge in each classroom | √ | √ | √ |  |  | √ | √ | √ | √ |  | √ |  | √ | √ | √ | √ |  |  | √ | √
Bullying | 3 | 1 | 3 |  |  | 1 |  |  | 3 | 27 | 3 | 30 | Increase monitoring and visibility through cameras, hallway design; communications | √ | √ |  |  |  |  | √ | [12 empty] | √
Vandalism | 1 | 3 | 1 |  |  | 3 |  |  | 2 | 2 | 18 | 20 | Exterior lighting (pros and cons); early detection of unapproved entry; interior and exterior monitoring, particularly during unoccupied hours | √ | √ | √ |  |  | √ | √ | √ | √ |  |  | √ | √
Burglary/Theft | 3 | 2 | 3 |  |  | 2 |  |  | 2 | 18 | 8 | 26 | Alarm system; lock system; cameras w/ 24 hour monitoring | √ | √ | √ |  |  | √ | √ | √ | √ | [9 empty] | √ | √
Fire (accidental) | 1 | 1 | 3 |  |  | 3 |  |  | 1 | 3 | 3 | 6 | Fire detection, alarm, and suppression systems (standard in all schools) |  |  |  | √ | √ | [5 empty] | √ | [5 empty] | √ | √ | √ | √
Arson | 1 | 1 | 1 |  |  |  | 3 |  | 2 | 2 | 6 | 8 | Early detection in hidden or sparsely populated areas of school | √ | √ |  | √ | √ |  | √ | √ | √ |  | √ | [5 empty] | √ | √ | √ | √
Vehicle attack (bomb) | 0.5 | 0.5 | 4 |  |  |  | 4 |  | 4 | 8 | 8 | 16 | Standoff perimeter (very difficult to do for schools) | √ | √ |  | √ | √ |  |  |  |  | √ | √ | [5 empty] | √ |  | √ | √
NATURAL:
Tornado | 1 | 1 | 3 |  |  |  | 3 |  | 4 | 12 | 12 | 24 | Areas of refuge; reduce on-site wind-born items; emergency power source |  |  |  |  | √ | [5 empty] | √ | [6 empty] | √ | √ | √
Hurricane | 1 | 2 | 3 |  |  |  |  | 3 | 2 | 6 | 12 | 18 | Areas of short-term refuge and long-term shelter; reduce on-site wind-born items |  |  |  |  | √ | [5 empty] | √ | [6 empty] | √ | √ | √
Flood | 1 | 1 | 3 |  |  |  | 3 |  | 4 | 12 | 12 | 24 | Early detection and warning; site berms, weather-tight doors, temporary measures like sandbagging |  |  |  |  | √ | [5 empty] | √ | [6 empty] | √ | √ | √
Earthquake | 0.5 | 0.5 | 2 |  |  |  |  | 3 | 2 | 2 | 3 | 5 | New: adequate structural design; Existing: structural assessment and repair | [10 empty] | √ | [6 empty] | √ | √ | √
Fire | 2 | 1 | 3 |  |  |  | 3 |  | 2 | 12 | 6 | 18 | Adequate no-burn perimeter; early detection and evacuation; areas of refuge |  |  |  | √ | √ |  |  |  |  | √ | √ | [5 empty] | √ | √ | √ | √
Landslide | 0.5 | 0.5 | 3 |  |  |  | 4 |  | 4 | 6 | 8 | 14 | [11 empty] | √ | [8 empty] | √
Snow | 2 | 4 | 2 |  |  |  |  | 2 | 1 | 4 | 8 | 12 | New: adequate structural design; Existing: structural assessment and repair; All, temporary measures such as snow removal |  |  |  |  | √ | [14 empty] | √
Storm surge/tsunami | 1 | 1 | 2 |  |  |  |  | 3 | 4 | 8 | 12 | 20 | Early detection and warning; site berms, weather-tight doors, temporary measures like sandbagging |  |  |  |  | √ | [5 empty] | √ | [8 empty] | √
High winds | 1 | 1 | 3 |  |  |  |  | 3 | 4 | 12 | 12 | 24 | Areas of refuge; reduce on-site wind-born items |  |  |  |  | √ | [5 empty] | √ | [6 empty] | √ |  | √
Heat wave | 3 | 0.5 | 3 |  |  |  |  | 1 | 2 | 18 | 1 | 19 | Adequate mechanical system; emergency power source |  |  |  |  | √ | [5 empty] | √ | [6 empty] | √ |  | √
Sea rise | 0.5 | 0.5 | 1 |  |  |  |  | 3 | 4 | 2 | 6 | 8 |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA

## MD-Curative&Countrmsrs
ASSESSMENT OF SECURITY RISKS | Threat Assessment (likelihood of occurance) | Almost none | 0.5 |  | SCHOOL ASSUMPTIONS:
Using WBDG Methodology |  | Minimal | 1 |  | Typical suburban comprehensive school near Chesapeake Bay
TYPE OF THREAT | THREAT ASSESSMENT |  | VULNERABILITY ASSESSMENT | [6 empty] | RISK |  |  |  | CURATIVE MEASURES | COUNTERMEASURES
THREAT |  |  | IMPACT OF LOSS (at individual facility; not systemwide) | [5 empty] | VULNERA-BILITY (existing fclt'y cntrmsrs) |  |  | RISK ASSESSMENT | FACILITY COUNTERMEASURES |  | DETECTION/ MONITORING |  |  |  |  | PREVENTION |  |  |  | MITIGATION | [8 empty] | RESPONSE
| a' | a" | b' |  |  | b" |  |  | c | a' x b' x c | a" x b" x c
| TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | To Occupants (student body or individuals) |  |  | To Facility |  |  |  | TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | COMBINED |  |  | Visibiity from within (CPTED) | Camera | Access system | Fire alarm | Early warning | Entry alarm | No blind spots (CPTED) | Limit access | Lock system | pStandoff/no burn Perimeter | Evacuation procedure | Lighting | Classroom locks | Area in classroom out of sight | Blinds, shades | Lock-down areas | Fire suppression | Area of refuge | Internal communication | External communication
|  |  | COMPR. SCHL. (ES, MS, HS) | SPEC. ED. | CTE | LIMITED (e.g. classr'm) | PARTIAL (e.g. wing) | TOTAL
HUMAN:
Active shooter | 0.5 | 0.5 | 4 |  |  | 1 |  |  | 3 | 6 | 1.5 | 7.5 | Limit access points; control classroom entry points; monitor all visitors and students; integrate communications; create ares of refuge in each classroom |  | √ | √ | √ |  |  | √ | √ | √ | √ |  | √ |  | √ | √ | √ | √ |  |  | √ | √
Bullying | 3 | 1 | 3 |  |  | 1 |  |  | 3 | 27 | 3 | 30 | Increase monitoring and visibility through cameras, hallway design; communications |  | √ | √ |  |  |  |  | √ | [12 empty] | √
Vandalism | 1 | 3 | 1 |  |  | 3 |  |  | 2 | 2 | 18 | 20 | Exterior lighting (pros and cons); early detection of unapproved entry; interior and exterior monitoring, particularly during unoccupied hours |  | √ | √ | √ |  |  | √ | √ | √ | √ |  |  | √ | √
Burglary/Theft | 3 | 2 | 3 |  |  | 2 |  |  | 2 | 18 | 8 | 26 | Alarm system; lock system; cameras w/ 24 hour monitoring |  | √ | √ | √ |  |  | √ | √ | √ | √ | [9 empty] | √ | √
Fire (accidental) | 1 | 1 | 3 |  |  | 3 |  |  | 1 | 3 | 3 | 6 | Fire detection, alarm, and suppression systems (standard in all schools) |  |  |  |  | √ | √ | [5 empty] | √ | [5 empty] | √ | √ | √ | √
Arson | 1 | 1 | 1 |  |  |  | 3 |  | 2 | 2 | 6 | 8 | Early detection in hidden or sparsely populated areas of school |  | √ | √ |  | √ | √ |  | √ | √ | √ |  | √ | [5 empty] | √ | √ | √ | √
Vehicle attack (bomb) | 0.5 | 0.5 | 4 |  |  |  | 4 |  | 4 | 8 | 8 | 16 | Standoff perimeter (very difficult to do for schools) |  | √ | √ |  | √ | √ |  |  |  |  | √ | √ | [5 empty] | √ |  | √ | √
NATURAL:
Tornado | 1 | 1 | 3 |  |  |  | 3 |  | 4 | 12 | 12 | 24 | Areas of refuge; reduce on-site wind-born items; emergency power source | [5 empty] | √ | [5 empty] | √ | [6 empty] | √ | √ | √
Hurricane | 1 | 2 | 3 |  |  |  |  | 3 | 2 | 6 | 12 | 18 | Areas of short-term refuge and long-term shelter; reduce on-site wind-born items | [5 empty] | √ | [5 empty] | √ | [6 empty] | √ | √ | √
Flood | 1 | 1 | 3 |  |  |  | 3 |  | 4 | 12 | 12 | 24 | Early detection and warning; site berms, weather-tight doors, temporary measures like sandbagging | [5 empty] | √ | [5 empty] | √ | [6 empty] | √ | √ | √
Earthquake | 0.5 | 0.5 | 2 |  |  |  |  | 3 | 2 | 2 | 3 | 5 | New: adequate structural design; Existing: structural assessment and repair | [11 empty] | √ | [6 empty] | √ | √ | √
Fire | 2 | 1 | 3 |  |  |  | 3 |  | 2 | 12 | 6 | 18 | Adequate no-burn perimeter; early detection and evacuation; areas of refuge |  |  |  |  | √ | √ |  |  |  |  | √ | √ | [5 empty] | √ | √ | √ | √
Landslide | 0.5 | 0.5 | 3 |  |  |  | 4 |  | 4 | 6 | 8 | 14 | [12 empty] | √ | [8 empty] | √
Snow | 2 | 4 | 2 |  |  |  |  | 2 | 1 | 4 | 8 | 12 | New: adequate structural design; Existing: structural assessment and repair; All, temporary measures such as snow removal | [5 empty] | √ | [14 empty] | √
Storm surge/tsunami | 1 | 1 | 2 |  |  |  |  | 3 | 4 | 8 | 12 | 20 | Early detection and warning; site berms, weather-tight doors, temporary measures like sandbagging | [5 empty] | √ | [5 empty] | √ | [8 empty] | √
High winds | 1 | 1 | 3 |  |  |  |  | 3 | 4 | 12 | 12 | 24 | Areas of refuge; reduce on-site wind-born items | [5 empty] | √ | [5 empty] | √ | [6 empty] | √ |  | √
Heat wave | 3 | 0.5 | 3 |  |  |  |  | 1 | 2 | 18 | 1 | 19 | Adequate mechanical system; emergency power source | [5 empty] | √ | [5 empty] | √ | [6 empty] | √ |  | √
Sea rise | 0.5 | 0.5 | 1 |  |  |  |  | 3 | 4 | 2 | 6 | 8 |  |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA

## MD-Curative&Countrmsrs (2)
ASSESSMENT OF SECURITY RISKS | Threat Assessment (likelihood of occurance) | Almost none | 0.5 | SCHOOL ASSUMPTIONS:
Using WBDG Methodology |  | Minimal | 1 | Typical suburban comprehensive school near Chesapeake Bay
TYPE OF THREAT | THREAT ASSESSMENT |  | VULNERABILITY ASSESSMENT | [5 empty] | RISK |  |  | CURATIVE MEASURES | [8 empty] | COUNTERMEASURES
THREAT |  |  | IMPACT OF LOSS (at individual facility; not systemwide) |  |  |  |  | VULNERA-BILITY (existing fclt'y cntrmsrs) |  |  | FACILITY COUNTERMEASURES | WELLBEING |  |  |  |  | MENTAL HEALTH |  |  |  | DETECTION/ MONITORING |  |  |  |  | PREVENTION |  |  |  | MITIGATION | [9 empty] | RESPONSE
| a' | a" | b' |  | b" |  |  | c | a' x b' x c | a" x b" x c
| TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY | To Occupants (student body or individuals) |  | To Facility |  |  |  | TO OCCUPANTS (direct harm; not indirect loss of resources etc.) | TO FACILITY |  | Natual Light | Learning Spaces Accomodating Varies Learning Styles | Proper Accoustics | Connection to Nature: Plants, Trees, Etc. | Views to Exterior | Smaller Classroom Communities | Learning on Display/ Engage Inspire Students | Meditation Spaces | Areas for informal learning / socializing | Visibiity from within (CPTED) | Camera | Access system | Fire alarm | Early warning | Entry alarm | No blind spots (CPTED) | Limit access | Lock system | Standoff/no burn Perimeter | Evacuation procedure | Lighting | Pod Plan. Areas (wings ) can be closed independantly | Classroom locks | Area in classroom out of sight | Blinds, shades | Lock-down areas | Fire suppression | Area of refuge | Internal communication | External communication
HUMAN:
Active Shooter | 0.5 | 0.5 | 4 |  | 1 |  |  | 3 | 6 | 1.5 | Limit access points; control classroom entry points; monitor all visitors and students; integrate communications; create ares of refuge in each classroom |  | √ |  |  |  | √ |  | √ |  | √ | √ | √ |  |  | √ | √ | √ | √ |  | √ |  | √ | √ | √ | √ | √ |  |  | √ | √
Bullying | 3 | 1 | 3 |  | 1 |  |  | 3 | 27 | 3 | Increase monitoring and visibility through cameras, hallway design; communications | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |  |  |  |  | √ | [13 empty] | √
Vandalism | 1 | 3 | 1 |  | 3 |  |  | 2 | 2 | 18 | Exterior lighting (pros and cons); early detection of unapproved entry; interior and exterior monitoring, particularly during unoccupied hours | √ |  |  | √ | √ | √ |  | √ |  | √ | √ | √ |  |  | √ | √ | √ | √ |  |  | √ | √ | √
Burglary/Theft | 3 | 2 | 3 |  | 2 |  |  | 2 | 18 | 8 | Alarm system; lock system; cameras w/ 24 hour monitoring |  | √ |  |  | √ | √ | √ |  |  | √ | √ | √ |  |  | √ | √ | √ | √ | [10 empty] | √ | √
Fire (accidental) | 1 | 1 | 3 |  | 3 |  |  | 1 | 3 | 3 | Fire detection, alarm, and suppression systems (standard in all schools) | [12 empty] | √ | √ | [5 empty] | √ | [6 empty] | √ | √ | √ | √
Arson | 1 | 1 | 1 |  |  | 3 |  | 2 | 2 | 6 | Early detection in hidden or sparsely populated areas of school | [9 empty] | √ | √ |  | √ | √ |  | √ | √ | √ |  | √ | [6 empty] | √ | √ | √ | √
Vehicle attack (bomb) | 0.5 | 0.5 | 4 |  |  | 4 |  | 4 | 8 | 8 | Standoff perimeter (very difficult to do for schools) | [9 empty] | √ | √ |  | √ | √ |  |  |  |  | √ | √ | [6 empty] | √ |  | √ | √
NATURAL:
Tornado | 1 | 1 | 3 |  |  | 3 |  | 4 | 12 | 12 | Areas of refuge; reduce on-site wind-born items; emergency power source | [13 empty] | √ | [5 empty] | √ | [7 empty] | √ | √ | √
Hurricane | 1 | 2 | 3 |  |  |  | 3 | 2 | 6 | 12 | Areas of short-term refuge and long-term shelter; reduce on-site wind-born items | [13 empty] | √ | [5 empty] | √ | [7 empty] | √ | √ | √
Flood | 1 | 1 | 3 |  |  | 3 |  | 4 | 12 | 12 | Early detection and warning; site berms, weather-tight doors, temporary measures like sandbagging | [13 empty] | √ | [5 empty] | √ | [7 empty] | √ | √ | √
Earthquake | 0.5 | 0.5 | 2 |  |  |  | 3 | 2 | 2 | 3 | New: adequate structural design; Existing: structural assessment and repair | [19 empty] | √ | [7 empty] | √ | √ | √
Fire | 2 | 1 | 3 |  |  | 3 |  | 2 | 12 | 6 | Adequate no-burn perimeter; early detection and evacuation; areas of refuge | [12 empty] | √ | √ |  |  |  |  | √ | √ | [6 empty] | √ | √ | √ | √
Landslide | 0.5 | 0.5 | 3 |  |  | 4 |  | 4 | 6 | 8 | [20 empty] | √ | [9 empty] | √
Snow | 2 | 4 | 2 |  |  |  | 2 | 1 | 4 | 8 | New: adequate structural design; Existing: structural assessment and repair; All, temporary measures such as snow removal | [13 empty] | √ | [15 empty] | √
Storm surge/tsunami | 1 | 1 | 2 |  |  |  | 3 | 4 | 8 | 12 | Early detection and warning; site berms, weather-tight doors, temporary measures like sandbagging | [13 empty] | √ | [5 empty] | √ | [9 empty] | √
High winds | 1 | 1 | 3 |  |  |  | 3 | 4 | 12 | 12 | Areas of refuge; reduce on-site wind-born items | [13 empty] | √ | [5 empty] | √ | [7 empty] | √ |  | √
Heat wave | 3 | 0.5 | 3 |  |  |  | 1 | 2 | 18 | 1 | Adequate mechanical system; emergency power source | [13 empty] | √ | [5 empty] | √ | [7 empty] | √ |  | √